## Price Reference
RenoSmart PRICE_REFERENCE - Designer Quotation Prices (2025-2026)
Category | Item | Supply Type | Unit | MY Min (RM) | MY Max (RM) | SG Min ($) | SG Max ($)
Tiling | Tiling LABOUR ONLY (floor 300x300-600x600) | Labour Only | sqft | 6 | 10 | 8 | 15
Tiling | Tiling LABOUR ONLY (wall 300x600-600x600) | Labour Only | sqft | 7 | 12 | 10 | 18
Tiling | Tiling LABOUR ONLY (large format 900x900+) | Labour Only | sqft | 8 | 14 | 12 | 20
Tiling | Tiling S&I (floor 300x300) | S&I | sqft | 15 | 22 | 20 | 32
Tiling | Tiling S&I (floor 300x600) | S&I | sqft | 16 | 24 | 22 | 35
Tiling | Tiling S&I (floor 600x600) | S&I | sqft | 18 | 28 | 25 | 40
Tiling | Tiling S&I (floor 800x800) | S&I | sqft | 20 | 30 | 28 | 42
Tiling | Tiling S&I (floor 900x900) | S&I | sqft | 22 | 32 | 30 | 45
Tiling | Tiling S&I (floor 1200x600) | S&I | sqft | 25 | 35 | 32 | 48
Tiling | Tiling S&I (wall 200x300) | S&I | sqft | 15 | 22 | 20 | 32
Tiling | Tiling S&I (wall 300x600) | S&I | sqft | 18 | 26 | 24 | 38
Tiling | Tiling S&I (wall 600x600) | S&I | sqft | 20 | 28 | 28 | 40
Tiling | Tiling S&I (wall 600x1200) | S&I | sqft | 25 | 35 | 32 | 48
Tiling | Tiling S&I (outdoor anti-slip) | S&I | sqft | 18 | 30 | 25 | 42
Tiling | Tiling S&I (feature/mosaic) | S&I | sqft | 25 | 45 | 35 | 60
Tiling | Tiling S&I (rubber tiles) | S&I | sqft | 25 | 40 | 35 | 55
Construction | Build-up brick wall c/w plastering | S&I | sqft | 20 | 35 | 30 | 50
Construction | Build-up brick wall (labour only) | Labour Only | sqft | 12 | 20 | 18 | 30
Construction | RC floor slab 150mm G25 | S&I | sqft | 35 | 55 | 50 | 75
Construction | RC floor slab 150mm G30 | S&I | sqft | 38 | 60 | 55 | 80
Construction | RC slab extension | S&I | sqft | 40 | 65 | 55 | 85
Construction | Concrete flooring c/w BRC | S&I | sqft | 15 | 35 | 22 | 48
Construction | Screed/Re-leveling | S&I | sqft | 8 | 15 | 12 | 22
Construction | Plastering finish | S&I | sqft | 5 | 10 | 8 | 15
Construction | Kerb (brick/concrete) | S&I | ft | 40 | 80 | 55 | 100
Electrical | Lighting point S&I (new wiring + cable) | S&I | pt | 55 | 100 | 80 | 150
Electrical | Lighting point S&I (>12ft height) | S&I | pt | 80 | 130 | 110 | 180
Electrical | 13A socket power point S&I | S&I | pt | 85 | 150 | 130 | 220
Electrical | 15A socket power point S&I | S&I | pt | 100 | 170 | 150 | 250
Electrical | USB socket point S&I | S&I | pt | 120 | 200 | 180 | 280
Electrical | Ceiling fan point S&I | S&I | pt | 100 | 200 | 150 | 280
Electrical | Exhaust fan point S&I | S&I | pt | 80 | 150 | 120 | 220
Electrical | Cove light point S&I | S&I | pt | 120 | 250 | 180 | 350
Electrical | Downlight cutout + wiring | S&I | pt | 35 | 60 | 50 | 85
Electrical | Re-locate existing point | S&I | pt | 150 | 300 | 200 | 400
Electrical | Data/internet point (Cat5e/6) | S&I | pt | 200 | 400 | 300 | 600
Electrical | TV point S&I | S&I | pt | 150 | 300 | 200 | 450
Electrical | Electrical labour only (install fitting) | Labour Only | pt | 15 | 35 | 25 | 50
Electrical | DB box upgrade (18-way) | S&I | unit | 800 | 1500 | 1200 | 2000
Electrical | DB box upgrade (36-way) | S&I | unit | 1200 | 2200 | 1800 | 3000
Painting | Painting (interior 2-coat) | S&I | sqft | 2.5 | 5 | 3.5 | 7
Painting | Painting (skim coat + paint) | S&I | sqft | 4 | 8 | 6 | 12
Painting | Painting (exterior weather-shield) | S&I | sqft | 3 | 6 | 5 | 9
Painting | Re-paint existing roofing | S&I | sqft | 2 | 4 | 3 | 6
False Ceiling | False ceiling (flat plasterboard) | S&I | sqft | 10 | 18 | 15 | 25
False Ceiling | False ceiling c/w cove light | S&I | sqft | 14 | 22 | 20 | 32
False Ceiling | False ceiling (L-box/design) | S&I | sqft | 18 | 35 | 25 | 50
False Ceiling | False ceiling (calcium silicate) | S&I | sqft | 12 | 20 | 18 | 28
False Ceiling | Partition wall (single layer) | S&I | sqft | 18 | 30 | 25 | 42
Carpentry | Kitchen cabinet (laminated/melamine) | S&I | ft | 450 | 950 | 700 | 1400
Carpentry | Kitchen cabinet (solid plywood + veneer) | S&I | ft | 550 | 1200 | 800 | 1800
Carpentry | Kitchen cabinet (aluminium honeycomb/ACP) | S&I | ft | 400 | 900 | 600 | 1300
Carpentry | Kitchen cabinet (solid nyatoh/rubber wood) | S&I | ft | 800 | 1800 | 1200 | 2500
Carpentry | Wardrobe (laminated swing door) | S&I | ft | 700 | 1200 | 1000 | 1800
Carpentry | Wardrobe (laminated sliding) | S&I | ft | 800 | 1400 | 1200 | 2000
Carpentry | Wardrobe (solid plywood) | S&I | ft | 900 | 1600 | 1300 | 2300
Carpentry | TV console/feature wall | S&I | ft | 200 | 500 | 300 | 750
Carpentry | Shoe cabinet | S&I | ft | 250 | 550 | 400 | 800
Carpentry | Vanity cabinet | S&I | ft | 350 | 700 | 500 | 1000
Plumbing | Basin + mixer tap install | S&I | unit | 300 | 600 | 500 | 900
Plumbing | WC floor-mount | S&I | unit | 400 | 800 | 600 | 1200
Plumbing | WC wall-hung | S&I | unit | 800 | 1500 | 1200 | 2200
Plumbing | Water heater install | S&I | unit | 200 | 500 | 350 | 700
Plumbing | Rain shower set | S&I | unit | 400 | 900 | 600 | 1300
Plumbing | Toilet bowl outlet piping | S&I | L-sum | 800 | 2000 | 1200 | 3000
Plumbing | Inlet/outlet pipe for basin/tap | S&I | L-sum | 400 | 1000 | 600 | 1500
Waterproofing | Bathroom (cementitious) | S&I | sqft | 8 | 18 | 12 | 25
Waterproofing | Flat roof (torch-on membrane) | S&I | sqft | 12 | 25 | 18 | 35
Waterproofing | Balcony/patio | S&I | sqft | 10 | 20 | 15 | 28
Demolition | Hacking floor | S&I | sqft | 3 | 8 | 5 | 12
Demolition | Hacking wall | S&I | sqft | 5 | 12 | 8 | 18
Demolition | Hacking + re-leveling | S&I | sqft | 8 | 15 | 12 | 22
Roofing | Metal roofing (PU metal deck) | S&I | sqft | 22 | 34 | 30 | 48
Roofing | Polycarbonate roof (twinwall) | S&I | sqft | 18 | 30 | 25 | 42
Roofing | Glass roofing (tempered) | S&I | sqft | 55 | 90 | 75 | 125
Aluminium & Glass | Aluminium casement window | S&I | sqft | 100 | 250 | 150 | 350
Aluminium & Glass | Aluminium sliding door | S&I | sqft | 120 | 300 | 180 | 400
Aluminium & Glass | Glass shower screen (10mm) | S&I | sqft | 45 | 90 | 65 | 130
Aluminium & Glass | Tempered glass fix panel | S&I | sqft | 55 | 100 | 75 | 140
Aluminium & Glass | Mirror (standard) | S&I | sqft | 22 | 40 | 30 | 55
Flooring | Vinyl SPC click-lock | S&I | sqft | 6 | 12 | 8 | 18
Flooring | Timber engineered | S&I | sqft | 12 | 28 | 18 | 40
Flooring | Carpet grass (artificial turf) | S&I | sqft | 8 | 18 | 12 | 25
Flooring | Artificial grass | S&I | sqft | 15 | 35 | 22 | 48
Flooring | Composite decking | S&I | sqft | 45 | 90 | 60 | 120
Others | Air conditioning 1.5HP split inverter | S&I | unit | 1800 | 3500 | 2500 | 4500
Others | Metal railing mild steel powder coated | S&I | ft | 80 | 180 | 120 | 250
Others | Stainless steel fencing | S&I | sqft | 35 | 80 | 50 | 110
Others | PVC wall panel | S&I | sqft | 20 | 50 | 30 | 70
Others | Staircase (metal I-beam structure) | S&I | L-sum | 15000 | 35000 | 22000 | 50000
Others | Staircase (wood step + handrail) | S&I | L-sum | 30000 | 60000 | 45000 | 85000
Others | Landscape soil + carpet grass | S&I | sqft | 8 | 18 | 12 | 25